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CHECKLIST for building fire protection compliance in Queensland 

	Aspect
	Passive Fire Protection Measures
	Active Fire Protection Measures

	Fire-rated walls, doors, and floors
	Check integrity and functionality
	- Fire detection and alarm systems

	Fire compartments
	Delineation and maintenance
	- Smoke detectors, heat detectors, manual call points

	Fire seals and smoke seals on doors
	Presence and condition
	- Alarm notification appliances (bells, sirens, strobes)

	Fire-resistant glazing
	Compliance and integrity
	- Automatic sprinkler systems (if applicable)

	Fire-stopping materials
	Use in wall and floor penetrations
	- Fire extinguishers

	Fire-rated structural elements
	Integrity and condition
	- Fire hose reels and hydrants (if applicable)

	Fire-resistant coatings on steel
	Integrity
	- Emergency exit signage

	Fire protection strategy
	Alignment with renovation
	- Emergency lighting systems

	
	
	- Automatic closing devices on fire doors (if applicable)

	
	
	- Emergency evacuation system

	Building services
	Electrical system compliance
	

	Smoke exhaust systems (if applicable)
	Installation and functionality
	

	Ventilation systems
	Fire safety considerations
	

	HVAC systems
	Fire safety considerations
	

	Escape routes and exits
	Availability, condition, and accessibility
	

	Width and capacity of escape routes
	Compliance with capacity requirements
	

	Emergency exits
	Clearly marked and lead to safe outdoor areas
	

	Panic hardware on exit doors
	Functionality
	

	Occupant Safety and Education
	Emergency response plan, evacuation procedures
	

	Fire safety signage and instructions
	Prominently displayed
	

	Fire safety training and drills
	Plan for building occupants
	

	Documentation and Compliance
	Maintain all relevant documentation, certificates
	- Compliance with Building Code of Australia (BCA)

	
	and approvals
	- Compliance with Queensland building regulations



