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CPCCBC4012B 
Read and interpret plans and specifications 
ASSESSMENT SUMMARY

The assessment activities for CPCCBC4012B Read and interpret plans and specifications cover all aspects of the unit of competency required. To demonstrate competence in this unit, a participant must undertake all tasks and complete them satisfactorily and consistently. For Apprentices and Trainees, this includes employer completion of the Employer Record Book (ERB). 

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be equitable, fair and flexible. If a participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor. 

To satisfactorily complete the assessment, the participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a participant does not answer some questions or perform some tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency. The Trainer/Assessor is able to provide the participant with additional information on interpreting the assessment outcomes and provide guidance on the participant’s options. Should a participant still be deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result. 

By signing the cover page for each assessment item, the participant acknowledges they understand the assessment instructions and requirements and consent to being assessed. The participant also verifies and assures the RTO that the work submitted is their own work. 


	Participant Name
	Shane palmer 




	Task
	Assessment Results 

	Theory Exam
	 Satisfactory 
	 Not Yet Satisfactory

	Practical Assessment
	 Satisfactory 
	 Not Yet Satisfactory

	Outcome for Unit of Competency
	 Competent
	 Not Yet Competent




	Assessor Name
	

	Assessor Signature
	
	Unit Competence Determination Date
	Click here to enter a date.
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	THEORY EXAM INSTRUCTIONS

· This exam will occur under standard assessment conditions.
· An oral examination may be allowed under certain circumstances, whereby the Participant’s answers will be documented by a party other than the Participant. This must be acknowledged in writing (e.g. FT001 and Assessor Comments)
· Participants must provide enough detail in their responses to demonstrate their knowledge and skills.
· Please fill in the details below, providing your name, signature and date of assessment.
· Your signature acknowledges that this is your own work.
· Assessors are to complete marking in pen of a different colour to the Participant.
· If a Participant initially answers a question incorrectly but modifies their response, they must follow the instructions below:
· If a Participant changes their response in writing, they must put their initials next to the written change.
· If a Participant changes their response verbally, this must be noted on the exam paper by the assessor.




	[bookmark: _Ref396827952]Participant name
	Shane palmer 

	
	

	Participant signature
	
	
	

	Date
	Click here to enter a date.



	Assessor name
	

	
	

	Assessor signature
	
	
	

	Date
	Click here to enter a date.




	Number of questions
	Number of questions answered correctly
	Task outcome (Tick)

	87
	
	Satisfactory
	Not Yet Satisfactory

	
	
	
	




	ASSESSOR COMMENTS

	


Q1.  Plans and specifications are used to inform which of the following processes? Tick all that apply.

	Answer
	Choice
	Possible Answers
	
	
		Building contracts
	

	
		Development applications 
	

	
		Estimation
	

	
		Planning
	

	
		Supervisory tasks
	

	
		Tenders
	




Q2.  [bookmark: _Ref532191033]Which compass direction is always shown on plans and drawings?

	Answer
	North 
	



Q3.  [bookmark: _Ref427670124]What information is provided on a location plan?

	Answer
	Shows a site on a particular street 
	



Q4.  [bookmark: _Ref427670125]What detail does a site or block plan contain?

	Answer
	Provides specific detail of the block on which a development is proposed 
	


Q5.  [bookmark: _Ref427670660]What do floor plans identify?

	Answer
	Shows detail of the proposed structure, such as rooms, positions of fixtures, floor coverings 
	



Q6.  [bookmark: _Ref427671793]What is a landscape plan and what information might it provide?

	Answer
	Shows details of plants, paths, garden layouts and retaining walls
	



Q7.  [bookmark: _Ref427670661]What are elevation views? What do they provide to the plan reader?

	Answer
	View of the proposed structure from its sides. 
	



Q8.  [bookmark: _Ref427670662]What is a section?

	Answer
	A view of the house after it has been cut vertically at some point. 
	



Q9.  [bookmark: _Ref427670664]What are detailed drawings?

	Answer
	Drawings that show overall sizes, levels and reference to assembly drawings 
	



Q10.  [bookmark: _Ref427671414]What are specifications?

	Answer
	Specifications are details that support drawing and plans, providing details of the materials and techniques to be used, details and fittings, and standards to be observed. 
	




Q11.  [bookmark: _Ref427219196]Explain the meaning of the abbreviations in the table below.

	Answer
	Abbreviation
	Meaning
	
	
	ACRYL
	acrylic
	

	
	AS
	Australian standard 
	

	
	ASSD
	Assumed datum
	

	
	B
	basin
	

	
	BN
	Bull nose
	

	
	BTH
	Bath 
	

	
	BWK
	brickwork
	

	
	CB
	Concrete block
	

	
	CF
	Concrete floor 
	

	
	CG
	Clear glass
	

	
	CJ
	Ceiling joist 
	

	
	CORR
	Corrugated 
	

	
	CWT
	Cold water tank
	

	
	DG
	Double glazing 
	

	
	DH
	Double hung
	

	
	DPC
	Damp proof course 
	

	
	DSB
	Distribn. Switch board
	

	
	DW
	Dishwasher 
	

	
	EJ
	Expansion joint
	

	
	FPBD
	Fibrous plaster board 
	

	
	FFL
	Finished floor level
	

	
	FHR
	Fire hose reel
	

	
	GPO
	General purpose outlet
	

	
	HBD
	hardboard
	

	
	HTR
	Heater 
	

	
	HWD
	Hardwood 
	




Q12.  [bookmark: _Ref427675022]Name each of the drawing symbol images shown in the table below.

	Answer
	Name
	Image
	
	
	 cavity brick 
	[image: Wall - Cavity brick]
	

	
	Brick veneer
	[image: Wall - Brick veneer]
	

	
	Timber stud 
	[image: Wall - Timber stud]
	

	
	Window in cavity wall
	[image: Window - In cavity wall]
	

	
	Window in single wall
	[image: Window - In single wall]
	

	
	Single door 
	[image: Door - Swing single]
	

	
	Double door 
	[image: Door - Swing double]
	

	
	Cavity slider 
	[image: Door - Sliding into pocket]
	

	
	Sliding door exposed on walll
	[image: Door - Sliding exposed on wall]
	

	
	Socket outlet 
	[image: Socket outlet (power) - general]
	





Q13.  [bookmark: _Ref427733304]Identify what the following window symbols represent on elevations.

	Answer
	Item
	Drawing
	
	
	Hinged at side 
	[image: ]
	

	
	Hinged at top
	[image: ]
	

	
	Sliding horizontally 
	[image: ]
	

	
	Fixed 
	[image: ]
	




Q14.  [bookmark: _Ref532192707]What does a clouded area on a plan indicate?






	Answer
	Revisions or amendments 
	



Q15.  [bookmark: _Ref532192900]An amendment to specifications could relate to which of the following? Tick all that apply.

	Answer
	Choice
	Possible Answers
	
	
		Contact details of all construction crew members
	

	
		Materials or products used
	

	
		Methods of carrying out specified work
	





Refer to the title block below to respond to Q16. to Q18. 
[image: ]
Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF 

Q16.  [bookmark: _Ref531861864]On what date was an amendment made to the window details?

	Answer
	5/10/2011

	



Q17.  [bookmark: _Ref532193187]True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

	Answer
		True 
	
	
	
		False 
	
	




Q18.  [bookmark: _Ref531862015]What amendment occurred on 08/11/2011?

	Answer
	Bed 3 robe deleted 
	




Refer to the site plan below to respond to Q19. to Q26. 

[image: Site plan for a block of land showing existing building and proposed residence plus other detail]


Q19.  [bookmark: _Ref531861219]What structure is being built on this site? Tick your response.

	Answer
	Choice
	Possible Answers
	
	
		Residence
	

	
		Road
	

	
		Shed
	

	
		Water meter
	




Q20.  [bookmark: _Ref532193598]What is the Lot number of this site?

	Answer
	16
	



Q21.  [bookmark: _Ref532193601]What is the size of this lot?

	Answer
	3653m2
	



Q22.  [bookmark: _Ref532193617]Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

	Answer
	Choice
	Possible Answers
	
	
		Removed
	

	
		Retained
	




Q23.  [bookmark: _Ref532193558]True or False (Tick your response): The sewer is at the eastern boundary of the property.

	Answer
		True 
	
	
	
		False 
	
	




Q24.  [bookmark: _Ref532193550]True or False (Tick your response): The driveway is located to the south of the proposed property.

	Answer
		True 
	
	
	
		False 
	
	



Q25.  [bookmark: _Ref532193569]What size is the easement on the eastern boundary of the site?

	Answer
	5m
	



Q26.  [bookmark: _Ref531861509]True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

	Answer
		True 
	
	
	
		False 
	
	




Refer to the contour plan below to respond to Q27. to Q28. 

[image: contourplan]

Q27.  [bookmark: _Ref531872622]What is the level at the northernmost point of the site?

	Answer
	3.94
	



Q28.  [bookmark: _Ref532193453]Which end of the site has the lowest level? Tick your response.

	Answer
	Choice
	Possible Answers
	
	
		East
	

	
		West
	



Refer to the sectional drawing below to respond to Q29. to Q49. 

[image: cross_section]
Q29.  [bookmark: _Ref427660755][bookmark: _Ref532194571]Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26.?

	Answer
	It is the same client H&M smith lot 16 glenvalley road rihcmond.
The plans are drawn on the same date is the same structure. 
	



Q30.  [bookmark: _Ref427733756]Who is the client?

	Answer
	H&M smith
	



Q31.  [bookmark: _Ref427733757]Where is this project to be built?

	Answer
	lot 16 glenvalley road rihcmond
	



Q32.  [bookmark: _Ref427733759]What are the contact details for the draftsman?

	Answer
	Joe foreman 
Ph. 0395142311
Mob. 0413113113
18 fairview road, Richmond 3216
	



Q33.  [bookmark: _Ref427733761]What sheet number is this drawing?

	Answer
	5 of 7
	



Q34.  [bookmark: _Ref427660519][bookmark: _Ref427733762]What timber is required for loading and non-load bearing walls?

	Answer
	F5 45x90 load bearing and F5 35x90 non load bearing 
	


Q35.  [bookmark: _Ref427733763]What spacing is recommended for common studs?

	Answer
	600mm max spacing 
	



Q36.  [bookmark: _Ref427733765]What type of roof truss is to be installed?

	Answer
	Scissor trusses 
	



Q37.  [bookmark: _Ref427733766]What centres are the trusses positioned at?

	Answer
	900mm spacing 
	



Q38.  [bookmark: _Ref427733769]What size are the veranda posts?

	Answer
	90x90
	



Q39.  [bookmark: _Ref427733771]What timber species are the veranda posts to come from?

	Answer
	DAR OREGON
	



Q40.  [bookmark: _Ref427733773]What pitch is the roof?

	Answer
	30 degree 
	



Q41.  [bookmark: _Ref427733774]What size are the noggings and at what spacing?

	Answer
	35x70 and 1350max spacings 
	



Q42.  [bookmark: _Ref427733776]What size are the ceiling joists?

	Answer
	240x63 lvl 
	


Q43.  [bookmark: _Ref427733778]What timber is used for roof battens and what spacing?

	Answer
	35x70 FG pine battens at 900 spacings  
	



Q44.  [bookmark: _Ref427733780]What thickness is the plasterboard sheeting?

	Answer
	10mm
	



Q45.  [bookmark: _Ref427733781]What type of flooring is to be installed?

	Answer
	15mm plywood flooring 
	



Q46.  [bookmark: _Ref427733783]What is the roof cladding material?

	Answer
	Colorbond corrugated metal roofing 
	



Q47.  [bookmark: _Ref427733784]Where will you find information about the footings?

	Answer
	on the engineers drawing  
	



Q48.  [bookmark: _Ref427733786]What do the letters ‘DAR’ refer when timber ordering?

	Answer
	Dressed all round 
	



Q49.  [bookmark: _Ref427662218]Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

	Answer
	The size of the joists 
Lvl means laminated veneer lumber 
	


Refer to the drawing below to respond to Q50. to Q65. 

[image: ]

Q50.  [bookmark: _Ref427663500]What is the number of the drawing?

	Answer
	2
	



Q51.  [bookmark: _Ref427734104]What is the Job Number?

	Answer
	00r-112
	



Q52.  [bookmark: _Ref427734106]What is the scale of the drawing?

	Answer
	1:100
	



Q53.  [bookmark: _Ref427733995]What does the drawing show?

	Answer
	All Elavation coordinate views  
	



Q54.  [bookmark: _Ref427734110]Which view shows the front of the house?

	Answer
	East 
	



Q55.  [bookmark: _Ref427734113]How many motor vehicles can be parked in the garage?

	Answer
	2
	



Q56.  [bookmark: _Ref427734114]What are the window and doors made from?

	Answer
	Aluminium framed windows and doors.
Selected timber entrance door. 
	



Q57.  [bookmark: _Ref427734116]What is the size of the eaves?

	Answer
	450mm 
	


Q58.  [bookmark: _Ref427734119]What are the eaves lined with?

	Answer
	Hardiflex 
	



Q59.  [bookmark: _Ref427734120]What type of roof structure is the roof built from?

	Answer
	Timber framed roof trusses 
	



Q60.  [bookmark: _Ref532197046]Which Part of the NCC should be read for more detail about the requirements for the roof structure in Q59.?

	Answer
	Ncc volume two amendment 1 part 3.4.3 timber framing 
	



Q61.  [bookmark: _Ref532197154]Which Australian Standard should be read for more detail about the roof structure in Q59. ?

	Answer
	As 4440-2004
	



Q62.  [bookmark: _Ref427734122]What is the roof cladding materials made from?

	Answer
	Concrete roof tiles 
	



Q63.  [bookmark: _Ref532197156]Which Part of the NCC should be read for more detail about the roof cladding materials in Q62. ?

	Answer
	Ncc volume two part 3.5
	



Q64.  [bookmark: _Ref532197157]Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

	Answer
	AS 2050-1995
	



Q65.  [bookmark: _Ref427663512]What is the roof pitch?

	Answer
	22.5 
	



Q66.  [bookmark: _Ref531871432]Identify one (1) regulatory body you may need to submit plans to for approval?

	Answer
	City council
	



Q67.  [bookmark: _Ref532197251]Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66. 

	Answer
	Building approval process making sure the construction activities or development comply with relevant standards, codes and acts which can take up to 30 days.  
	



Q68.  [bookmark: _Ref427673788]What is a prime cost (PC) item? Give an example.

	Answer
	A prime cost item is an item such as tiles, taps, doors or bathroom fittings.
	



Q69.  [bookmark: _Ref427673790]What is a provisional sum (PS) item? Give an example.

	Answer
	A provisional sum item is an amount of money included in a contract to cover work or materials not detailed when entering a contract such as unseen rocks when undertaking siteworks 
	


Refer to the Bill of Quantities below to respond to Q70. to Q76. 

[image: ]
[image: ]

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf 



Q70.  [bookmark: _Ref531867328]True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

	Answer
		True 
	
	
	
		False 
	
	




Q71.  [bookmark: _Ref532199102]Identify two (2) materials being used for the floors?

	Answer
	Floating floor
Carpet 


	



Q72.  [bookmark: _Ref532199110]True or False (Tick your response): A landscaper has been contracted for this job.

	Answer
		True 
	
	
	
		False 
	
	




Q73.  [bookmark: _Ref532199056]How much does the contracted plasterer cost?

	Answer
	$12,900
	



Q74.  [bookmark: _Ref532199058]How much do the kitchen appliances cost?

	Answer
	2,700
	



Q75.  [bookmark: _Ref532199060]What percentage of the total cost does the fixing stage represent of the building contract?

	Answer
	$82,151.02
	



Q76.  [bookmark: _Ref531866973]What percentage of the total cost does the completion stage represent of the building contract?

	Answer
	$62,095.14
	


Refer to the Purchase Order below to respond to Q77. to Q82. 

[image: ]
Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf 

Q77.  [bookmark: _Ref531874116]How many Pine F5 90 x 45 studs (2.4m long) are required?

	Answer
	100
	



Q78.  [bookmark: _Ref532199470]If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

	Answer
	$275.00
	



Q79.  [bookmark: _Ref532199474]How many sheet of ply are required in total (i.e. all sizes)?

	Answer
	13
	



Q80.  [bookmark: _Ref531874121]What material has the highest total cost?

	Answer
	Pine 90x45 mgp10 
	



Q81.  [bookmark: _Ref531874448]How many metres are required of the material in Q80. ?

	Answer
	322.5m 
	



Q82.  [bookmark: _Ref531874565]What beam is identified as being a better option than F17?

	Answer
	E14 beam
	




Refer to the labour chart below to respond to Q83. to Q86. 

[image: ]
Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf 



Q83.  [bookmark: _Ref531873766]Based on the hourly rates given, which is the least expensive trade to contract?

	Answer
	Asphalter 
	



Q84.  [bookmark: _Ref532199773]If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

	Answer
	$214.80
	



Q85.  [bookmark: _Ref531873865]Based on the hourly rates given, which is the most expensive trade to contract?

	Answer
	Bar bender and fixer 


	



Q86.  [bookmark: _Ref531873882]If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

	Answer
	$1,285.80
	



Q87.  [bookmark: _Ref531691201]Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

	Answer
	Queensland Building and Construction Commission Act 1991 (Qld) (QBCC Act) Queensland Building and Construction Commission Regulation 2018 (Qld) (QBCC
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	PRACTICAL ASSESSMENT INSTRUCTIONS

· The following practical assessment will require the Participant to complete work related activities.
· The Assessor will conduct observations of the Participant’s work to determine whether they display sufficient practical skills and knowledge. 
· Please fill in the details below – providing your name, signature and date of assessment.
· The Participant’s signature acknowledges that the Assessor provided clear instructions and the Participant understood what was required to complete this assessment.
· The Assessor may substitute a Practical Task with an alternate task of equal value.
· Alternate tasks must be fully documented by the assessor in the Assessor Comments area.





	Participant name
	Shane palmer 

	
	

	Participant signature
	
	
	

	Date
	Click here to enter a date.



	Assessor name
	

	
	

	Assessor signature
	
	
	

	Date
	Click here to enter a date.





	Task
	Task outcome (Tick)

	
	Satisfactory
	Not Yet Satisfactory

	Task 1 (Occasion 1)
		
	Task 1 (Occasion 2)
		



	ASSESSOR COMMENTS

	


CPCCBC4012B
Read and interpret plans and specifications

	Practical Task 1 (2X)

	Description of task:
On two (2) occasions, a suitable observer is to verify the participant’s ability to read and interpret plans and specifications in order to inform estimation, planning and supervisory activities. 

The participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence to be submitted may include:
· Any drawing with a cloud or mark-up you have inserted.
· Copy of the correspondence regarding mark up and any site management/authorising engineer response.

The observer is to provide detailed comments on the tasks completed by the participant. The assessor is to verify the observer’s comments in the Assessor Comments section, and provide the Practical Assessment outcome on the front cover of this document.

	Resources required: 
Drawings (including site plan), Specifications, Tender documentation, Telephone, Facsimile machine, Computer. 

	Assessment of task

	Name of participant:
	Shane palmer 

	Name of observer:
	Peter palmer 

	Role of observer 
(Confirm suitability to sign)
	Sole trader PJPalmer Building

	Email address of observer
	pjarpalmer@onthenet.com

	Signature of observer:
	
	Date:
	Click here to enter a date.
	When completing the task, did the participant:
	Tick if satisfactorily completed. 
Provide comments if left unticked.

	
	1st
Occasion
	2nd
Occasion

	1 Interpret drawings

	1.1A.  [bookmark: _Ref531698368]Identify purpose and advantage of different types of drawings.
		
	1.1B.  Identify different aspects of drawings.
		
	1.1C.  [bookmark: _Ref531698394]Identify, understand and apply:
· Commonly used symbols and abbreviations
· Common building and construction terms on drawings
		
	1.1D.  [bookmark: _Ref531698402]Identify building site from location drawings.
		
	1.1E.  [bookmark: _Ref531698498]Identify on the site plan:
· True north
· Building orientation
· Key features in relation to building and other structures
· Levels
· Contours
· Service entry points
· Site features to be removed or retained
		
	1.1F.  [bookmark: _Ref531698586]Identify key features of plans, elevations and sections.
		
	1.1G.  [bookmark: _Ref531698588]Identify client requested variations to standard plans on drawings.
		
	2 Interpret specifications 

	1.2A.  [bookmark: _Ref531698592]Identify and correctly apply Provisional Sum (PS) and Prime Cost (PC) values. 
		
	1.2B.  [bookmark: _Ref531698596]Identify and confirm customer variations to standard specifications and communicate changes to organisational personnel. 
		
	1.2C.  [bookmark: _Ref531698601]Apply and communicate correct interpretations of essential elements to estimation, planning and supervisory tasks (including labour hours/costs and material quantities/costs).
		
	1.2D.  [bookmark: _Ref531698605]Identify Building Codes or standards affecting the work to be undertaken (including references to Australian Standards and the National Construction Code). 
		
	1.2E.  [bookmark: _Ref531698612]Identify key features of products included in the specification, including the design, purpose, aesthetics and cost relationships. 
		
	3 Communicate with others

	1.3A.  [bookmark: _Ref531698617]Consult with industry professionals, clients, organisational personnel and appropriate local authorities.
		
	1.3B.  [bookmark: _Ref530479080]Effectively communicate using the following methods:
· Verbally using language/concepts appropriate to cultural differences
· Non-verbal communication
· Using technology (including telephone, facsimile, email)
		
	The Participant’s performance was:  Satisfactory     Not Satisfactory



	OBSERVER COMMENTS
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