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From: Glenn Parrish <glennparrish24@hotmail.com>
Sent: Thursday, August 1, 2019 1:58 PM
Subject: Hose Taps, D/P clips
To: Stuart Betts <sbetts2015@hotmail.com>

No worries Stu, I’m back there on Monday to start level 5 fit off I’ll come and see you then.

Cheers

Glenn Parrish
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From: Stuart Betts <sbetts2015@hotmail.com>
Sent: Thursday, August 1, 2019 9:47 AM
To: Glenn Parrish <glennparrish24@hotmail.com>
Subject: Re: Hose Taps, D/P clips
 
Glenn                                                                                                                                         The developer wants the tap installed, come and see me for that vary when you are on site next.
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From: Stuart Betts <sbetts2015@hotmail.com>
Sent: Monday, 29 July 2019 7:25 AM
To: Glenn Parrish <glennparrish24@hotmail.com>
Subject: Re: Hose Taps, D/P clips
 
Glenn
Thanks for sorting out that D/P straight away, I have double checked the plans and you are right it isn’t shown on them, I am waiting to hear back from the developer if he wants to proceed with the vary.

Regards

Stuart Betts
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From: Glenn Parrish <glennparrish24@hotmail.com>
Sent: Thursday, 25 July 2019 4:13PM
Subject: Re: Hose Taps, D/P clips
To: Stuart Betts <sbetts2015@hotmail.com

G’day Stu, firstly I have fixed the loose clips on the D/P so there is no problem there, however the hose tap does not appear on any of the stamped and approved plans that we have, I have had Ryan confirm this as well, can you check yours and confirm this too, and let me know. On the plus side I have had a look in the basement and we should be able to run a feed over and up through the floor quite easily if the developer wants a tap there. I will need to get you to sign a variation for this one but as it wasn’t part of the original scope of works. Let me know how you go.
Cheers 
Glenn Parrish
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From: Glenn Parrish <glennparrish24@hotmail.com>
Sent: Thursday, 25 July 2019  6:25AM
To: Stuart Betts <sbetts2015@hotmail.com
Subject: Re: Hose Taps, D/P clips
 
No worries Stu I’ll have a look at that today and get back to you.
Cheers
Glenn Parrish
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From: Stuart Betts <sbetts2015@hotmail.com
Sent: Wednesday, 24 July, 12:19PM
Subject: Hose Taps, D/P clips
To: Glenn Parrish <glennparrish24@hotmail.com>

Glenn
I completed a walk around with the developer this morning and we noticed a missing hose tap on the balcony of unit 2, and also clips that are loose on the 150mm D/P on the southern end of the building. He has insisted that this needs to be rectified, can you have a look when you get a chance and advise how you are going to achieve this. 
Regards 
Stuart Betts
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