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Meeting Overview

	Reference
	MEET-110820

	Title
	Safety Committee Meeting #21

	Meeting Type
	HSE Committee Meeting

	Date Created
	11/08/2020

	Created By
	Mitch Ryan

	Date Completed
	19/08/2020

	Completed By
	Mitch Ryan

	Status
	Complete


 
 
Agenda

1. Business arising from previous meeting. 
2. Issues/Hazards/observations identified.
3. Issues from client.
4. Injuries/incidents.
5. Document review.
6. Upcoming works.
7. General business.

	Safety Committee Minutes
	1. Business arising from previous meeting. 
Fire hose reel that have no water to be tagged out or removed. Through out E wing Tag out with out of service tag or removed redundant reels that are accessible. - check the line feeding the hose reels. Bris Fire to identify pipes running to old hose reels, tag out old hose reels. Plumbers can check the feed is separate to current riser. 
Tank area review of batter, sediment controls. Install CBR. - closed. 
Light for site office entrance mounted of scaffold. - Light been ordered - closed L6 toilet waiting for Asbestos clearance then toilet can be installed. Rise has been installed by plumbers. 
Poly line and tap in walkway scaffold south tower move back out of walkway. - closed Asbestos Awareness Course - Numbers/names/Subbies for course? 
Scaffold general clean up - Water bottles available for workers to use for personal use. If workers want water bottles see Shannon 
Danger sun over - info session for site to be organised. 9th September course is organised. 1 hour course. 8 am course. 
2. [bookmark: _Hlk48746787]Issues/Hazards/observations identified Short week since last meeting. 
Site walk - Good walk. Review of items plugged into switchboards. Access into work areas. set up of exclusion zones. 
Toilets being blocked up with toilet rolls. 
Co-ordination of lifting in Herston Square with crane. Co-ordination of pedestrian access across front of Herston Square. Stop pedestrian when loads are being lifted or lower. Seat belts to be worn in mobile plant.
3. Client - AU 
Independent Audit for AU by Safe Assure. Gareth Davies. Positive feedback from site walk. 
4.Injuries/Incidents 
5. Corrective actions issued.
              Seatbelts to be worn in mobile plant
6. Document Reviews. 
Master Floor Prep - 
Trident traffic for Bramston Ave. Scooter 
7. Upcoming work 
CC bore into SW. 
Lift shaft demo North tower 
Scaffold eastern and court yards of E wing. 
Lead paint remediation Internal windows and doors North E wing External lead paint remediation external North E wing. 
North Tower east elevation scaffold 
North tower SW scaffold 
9. General business 
Talk to work group about amenities 
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Issues Identified

Comments

N/A
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