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SUMMARY
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The assessment activities for CPCCBC4012B Read and interpret plans and specifications cover all aspects of the unit of competency required. To demonstrate competence in this unit, a participant must undertake all tasks and complete them satisfactorily and consistently. For Apprentices and Trainees, this includes employer completion of the Employer Record Book (ERB).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be equitable, fair and flexible. If a participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a participant does not answer some questions or perform some tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency. The Trainer/Assessor is able to provide the participant with additional information on interpreting the assessment outcomes and provide guidance on the participant’s options. Should a participant still be deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result.

By signing the cover page for each assessment item, the participant acknowledges they understand the assessment instructions and requirements and consent to being assessed. The participant also verifies and assures the RTO that the work submitted is their own work.

 (
UAA
 
Darshika
Participant
 
Name
)


	
	

	Theory Exam
	◻ Satisfactory
	◻ Not Yet Satisfactory

	Practical Assessment
	◻ Satisfactory
	◻ Not Yet Satisfactory

	
	◻ Competent
	◻ Not Yet Competent




	Assessor Name
	Myles Walder

	
Assessor Signature
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 (
THEORY
 
EXAM
 
INSTRUCTIONS
This
 
exam
 
will
 
occur
 
under
 
standard
 
assessment
 
conditions.
An oral examination may be allowed under certain circumstances,
 
whereby
 
the
 
Participant’s
 
answers
 
will
 
be
 
documented
 
by
 
a
 
party
 
other
 
than
 
the
 
Participant.
 
This
 
must
 
be
 
acknowledged
 
in
 
writing
 
(e.g.
 
FT001
 
and
 
Assessor
 
Comments)
Participants
 
must
 
provide
 
enough
 
detail
 
in
 
their
 
responses
 
to
 
demonstrate
 
their
 
knowledge
 
and
 
skills.
Please
 
fill
 
in
 
the
 
details
 
below,
 
providing
 
your
 
name,
 
signature
 
and
 
date
 
of
 
assessment.
Your
 
signature
 
acknowledges
 
that
 
this
 
is
 
your
 
own
 
work.
Assessors
 
are
 
to
 
complete
 
marking
 
in
 
pen
 
of
 
a
 
different
 
colour
 
to
 
the
 
Participant.
If
 
a
 
Participant
 
initially
 
answers
 
a
 
question
 
incorrectly
 
but
 
modifies
 
their
 
response,
 
they
 
must
 
follow
 
the
 
instructions
 
below:
If
 
a
 
Participant
 
changes
 
their
 
response
 
in
 
writing,
 
they
 
must
 
put
 
their
 
initials
 
next
 
to
 
the
 
written
 
change.
If
 
a
 
Participant
 
changes
 
their
 
response
 
verbally,
 
this
 
must
 
be
 
noted
 
on
 
the
 
exam
 
paper
 
by
 
the
 
assessor.
)

Participant name	UAA Darshika	 Participant signature		Dars³ika
Date	02/02/2021	


Assessor name	Myles Walder	 Assessor signature


Date	Click here to enter a date.	
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ASSESSOR COMMENTS
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Q1.	Plans and specifications are used to inform which of the following processes? Tick all that apply.
 (
Choice
Possible
 
Answers
x
Building
 
contracts
x
Development
 
applications
x
Estimation
x
Planning
x
Supervisory
 
tasks
x
Tenders
)Answer	◻



Q2.	Which compass direction is always shown on plans and drawings?

 (
True
 
north
) (
◻
)Answe r


Q3.	What information is provided on a location plan?

 (
Shows
 
a
 
site
 
on
 
a
 
particular
 
street
 
A
 
location
 
plan
 
details
 
the:
Lot
 
number/s
Deposit
 
plan
 
numbers
North
 
point
Scale
 
(usually
 
1:5000)
) (
◻
)Answe r






Q4.	What detail does a site or block plan contain?

 (
Provides
 
specific
 
detail
 
of
 
the
 
block
 
on
 
which
 
a
 
development
 
is
 
proposed
A
 
Site
 
or
 
Block
 
Plan
 
is
 
usually
 
gives
 
the
 
following
 
information:
A
 
datum
 
-
 
reference
 
height
 
to
 
other
 
site
 
levels
Building
 
location
 
and
 
orientation
 
to
 
north
 
point
Outline
 
of
 
site
 
boundaries
 
showing
 
location
 
of
 
proposed
 
building
 
and
 
existing
 
dwellings
Street
 
frontage
 
names
Major
 
geological
 
and
 
topographical
 
features
 
(trees
 
and
 
vegetation)
Datum
 
points,
 
contours
 
and
 
slopes
Driveways,
 
stormwater
 
drainage,
 
easements
 
and
 
right
 
of
 
carriage
Soil
 
and
 
surface
 
water
 
drains,
 
pipe
 
sizes
Service
 
runs
 
from
 
the
 
house
 
to
 
mains
 
-
 
utility
 
services
 
location
 
(sewer,
 
water,
 
gas,
 
electricity)
Details
 
of
 
paving
 
and
 
retaining
 
walls
) (
◻
)Answe r
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Q5.	What do floor plans identify?

 (
Floor
 
plans:
 
Shows
 
detail
 
of
 
the
 
proposed
 
structure,
 
such
 
as
 
rooms,
 
positions
 
of
 
fixtures,
 
floor
 
coverings
floor
 
plan
 
it
 
shows
 
the
 
size
 
and
 
thickness
 
of
 
structural
 
members
 
and
 
relationships
 
between
 
spaces.
) (
◻
)Answe r

















Q6.	What is a landscape plan and what information might it provide?

 (
Landscape
 
plan:
 
Shows
 
details
 
of
 
plants,
 
paths,
 
garden
 
layouts
 
and
 
retaining
 
walls.
A Landscape Plan is a plan of a site showing the footprint of a proposed
 
development, existing vegetation to be retained, any existing vegetation to
 
be
 
removed,
 
proposed
 
vegetation
 
to
 
be
 
planted
 
and
 
proposed
 
built
 
elements
 
(such
 
as
 
pathways,
 
driveways
 
and
 
courtyards).
) (
◻
)Answe r
















Q7.	What are elevation views? What do they provide to the plan reader?

 (
An
 
elevation
 
is
 
a
 
view
 
you
 
see
 
when
 
standing
 
in
 
front
 
of
 
that
 
wall.
 
It
 
may
 
be
 
multi-storey
 
or
 
single-storey.
Elevation
 
views
View
 
of
 
the
 
proposed
 
structure
 
from
 
its
 
sides
 
(i.e.
 
from
 
north,
 
south,
 
east
 
and
 
west).
Each
 
side
 
is
 
what
 
is
 
called
 
an
 
elevation
 
view.
 
Elevations
 
indicate:
Finish
 
to
 
external
 
walls
 
and
Size
 
of
 
windows,
 
doors
 
and
 
balconies
) (
◻
)Answe r
 (
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Q8.	What is a section?

 (
Key
 
features
A section is a vertical view (slice) through the building. The direction of
 
section lines or arrows is usually shown on the plan to help interpret the
 
sectional
 
view.
The section is a view of the house after it has been cut vertically at some
 
point.
 
Like
 
the
 
floor
 
plan
 
it shows the size and thickness of structural
 
members
 
and
 
relationships
 
between
 
spaces.
For example, it shows the height from the ground to the floor, the height
 
between
 
the
 
floor
 
and
 
the
 
ceiling,
 
and
 
how
 
the
 
roof
 
is
 
to
 
be
 
constructed.
) (
◻
)Answe r



















Q9.	What are detailed drawings?

 (
Detail drawings provide a detailed description of the geometric form of a
 
part of an object such as a building, bridge, tunnel, machine, plant, and so
 
on.
 
They
 
tend
 
to
 
be
 
large-scale
 
drawings
 
that show in detail parts that
 
may
 
be
 
included
 
in
 
less
 
detail
 
on
 
general
 
arrangement
 
drawings.
Detailed
 
plans:
 
Illustrate
 
a
 
particular
 
method
 
of
 
construction
 
of
 
finish.
) (
◻
)Answe r
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Q10. What are specifications?

 (
Specifications
 
are
 
details
 
that
 
support
 
drawings
 
and
 
plans,
 
providing
 
details of the materials and techniques to be used, details of fixtures and
 
fittings,
 
and
 
standards
 
to
 
be
 
observed.
Specifications set out the minimum standards or codes required for all
 
structural
 
components
 
and
 
provide
 
details
 
of
 
building
 
materials
 
and
 
fittings,
 
such
 
as:
Windows,
 
frame
 
material
 
and
 
type
 
of
 
glass
Doors,
 
size,
 
material
 
and
 
the
 
swing
 
on
 
the
 
door
Finishes/colours
 
to
 
walls,
 
floors
 
and
 
ceilings
Door
 
types
 
and
 
models
 
of
 
locks,
 
latches,
 
hinges,
 
push
 
plates
 
and
 
pull
 
handles
General
 
items
 
contained
 
within
 
Building
 
Specifications
 
include
 
a:
Full
 
description
 
of
 
work
Precise
 
list
 
of
 
materials
Details
 
of
 
all
 
fittings,
 
fixtures
 
and
 
finishes
 
(appliances
 
–
 
make
 
and
 
model)
Precise
 
list
 
of
 
products
 
(e.g.
 
types,
 
brands,
 
grades,
 
thickness,
 
colour,
 
model)
) (
◻
)Answe r
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Q11. Explain the meaning of the abbreviations in the table below.
 (
Abbreviatio
n
Meaning
ACRYL
Acrylic
AS
Australian
 
Standard
ASSD
Assumed
 
Datum
B
Basin
BN
Bull
 
Nose
BTH
Bath
BWK
Brickwork
CB
Concrete
 
block
CF
Concrete
 
floor
CG
Clear
 
glass
CJ
Ceiling
 
joist
CORR
Corrugated
CWT
Cold
 
water
 
tank
DG
Double
 
glazing
DH
Double
 
hung
DPC
Damp
 
proof
 
course
DSB
Distribn.
 
switchboard
DW
Dishwasher
EJ
Expansion
 
joint
FPBD
Fibrous
 
plaster
 
board
FFL
Finished
 
floor
 
level
FHR
Fire
 
hose
 
reel
GPO
General
 
purpose
 
outlet
HBD
Hardboard
HTR
Heater
HWD
Hardwood
)Answe	◻
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Q12. Name each of the drawing symbol images shown in the table below.
 (
Name
Image
Pivoted
 
window
Vented
 
window
Door
French
 
door
Pocket
 
door
Sliding
 
door
Substation/Power
 
socket
)[image: ][image: ][image: ][image: ][image: ][image: ][image: ][image: ][image: ][image: ]Answer	◻
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Q13. Identify what the following window symbols represent on elevations.

 (
Item
Drawing
Hinged
 
at
 
side
Hinged
 
at
 
top
Sliding
 
horizontally
Fixed
)[image: ][image: ][image: ][image: ]Answer	◻





[image: ]Q14. What does a clouded area on a plan indicate?

 (
On
 
plans,
 
revisions
 
or
 
amendments
 
are
 
represented
 
by
 
a
 
clouded
 
area
) (
◻
)Answe r





Q15. An amendment to specifications could relate to which of the following?
Tick all that apply.

 (
Choice
Possible
 
Answers
◻
Contact
 
details
 
of
 
all
 
construction
 
crew
 
members
x
Materials
 
or
 
products
 
used
x
Methods
 
of
 
carrying
 
out
 
specified
 
work
)Answer	◻
 (
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[image: ]Refer to the title block below to respond to Q16. to Q18.
Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF

Q16. On what date was an amendment made to the window details?

 (
05/10/2011
) (
◻
)Answe r


Q17. True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

 (
x
True
◻
False
)Answer	◻

Q18. What amendment occurred on 08/11/2011?

 (
Bed
 
3
 
robe
 
deleted.
) (
◻
)Answe r
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Refer to the site plan below to respond to Q19. to Q26.
[image: ]
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Q19. What structure is being built on this site? Tick your response.
 (
Choice
Possible
 
Answers
x
Residence
◻
Road
◻
Shed
◻
Water
 
meter
)Answer	◻


Q20. What is the Lot number of this site?

 (
Lot
 
16
) (
◻
)Answe r


Q21. What is the size of this lot?

 (
3653m2
) (
◻
)Answe r


Q22. Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

 (
Choice
Possible
 
Answers
◻
Removed
x
Retained
)Answer	◻


Q23. True or False (Tick your response): The sewer is at the eastern boundary of the property.

 (
◻
True
x
False
)Answer	◻

Q24. True or False (Tick your response): The driveway is located to the south of the proposed property.

 (
x
True
◻
False
)Answer	◻
 (
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Q25. What size is the easement on the eastern boundary of the site?

 (
5m
) (
◻
)Answe r


Q26. True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

 (
x
True
◻
False
)Answer	◻

Refer to the contour plan below to respond to Q27. to Q28.

[image: ]

Q27. What is the level at the northernmost point of the site?

 (
3.94
) (
◻
)Answe r


Q28. Which end of the site has the lowest level? Tick your response.
 (
Choice
Possible
 
Answers
◻
East
x
West
)Answer	◻
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Refer to the sectional drawing below to respond to Q29. to Q49.
[image: ]
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Q29.   Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26.?

 (
This
 
is
 
a
 
section
 
detail
 
of
 
structure
 
proposed
 
in
 
Q19.
 
to
 
Q26.
 
This
 
indicates
 
a
 
section
 
through
 
the
 
entire
 
building.
It
 
shows
 
the
 
size
 
and
 
thickness
 
of
 
structural
 
members.
 
Following
 
details
 
indicate
 
in
 
this
 
section:
Position
 
of
 
bed,
 
bath,
 
verandah
 
and
 
family
 
room
Roof
 
detail
 
including
 
roof
 
materials,
 
size
 
of
 
battens,
 
spacing
 
of
 
trusses
 
and
 
joists,roof
 
pitch
About
 
ceiling
 
and
 
wall
 
material
 
details
Floor
 
material
 
and
 
spacing
 
details
Size
 
of
 
wall
 
plates,
 
size
 
and
 
spacing
 
of
 
common
 
studs,
 
jamb
 
studs,
 
size
 
and
 
span
 
of
 
lintels,
 
size
 
and
 
spacing
 
of
 
roof
 
battens
) (
◻
)Answe r












Q30. Who is the client?

 (
H
 
&
 
M
 
Smith
) (
◻
)Answe r


Q31. Where is this project to be built?

 (
Lot
 
16,
 
Glenvalley
 
Road,
 
Richmond
) (
◻
)Answe r




Q32. What are the contact details for the draftsman?

 (
Joe
 
Foreman
Ph:
 
03
 
9514
 
2311
Mob:
 
0413
 
113
 
113
) (
◻
)Answe r







Q33. What sheet number is this drawing?

 (
Sheet
 
5
) (
◻
)Answe r


Q34. What timber is required for loading and non-load bearing walls?

 (
Timber
 
weatherboards
) (
◻
)Answe r
 (
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Q35. What spacing is recommended for common studs?

 (
600mm
 
max
 
spacing
) (
◻
)Answe r


Q36. What type of roof truss is to be installed?

 (
Scissor truss
 
Gangnail
 
roof
 
trusses
) (
◻
)Answe r






Q37. What centres are the trusses positioned at?

 (
Wall
 
plate
) (
◻
)Answe r


Q38. What size are the veranda posts?

 (
90mm
 
x
 
90mm
) (
◻
)Answe r


Q39. What timber species are the veranda posts to come from?

 (
DAR
 
OREGON
) (
◻
)Answe r


Q40. What pitch is the roof?

 (
Pitch
 
30
 
degrees,
 
pitch
 
15
 
degrees
 
for
 
verandah
) (
◻
)Answe r


Q41. What size are the noggings and at what spacing?

 (
35mm
 
x
 
70mm
 
-
 
1350mm
 
max
 
spacing
) (
◻
)Answe r




Q42. What size are the ceiling joists?

 (
at
 
450mm
 
spacing
) (
◻
)Answe r
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Q43. What timber is used for roof battens and what spacing?

 (
FG
 
pine
 
battens
 
at
 
900mm
 
spacing
) (
◻
)Answe r


Q44. What thickness is the plasterboard sheeting?

 (
10mm
) (
◻
)Answe r


Q45. What type of flooring is to be installed?

 (
Plywood
 
flooring
) (
◻
)Answe r


Q46. What is the roof cladding material?

 (
metal
) (
◻
)Answe r


Q47. Where will you find information about the footings?

 (
Engineering
 
drawings
) (
◻
)Answe r




Q48. What do the letters ‘DAR’ refer when timber ordering?

 (
Timber
 
that
 
has
 
been
 
dressed
 
all
 
round
 
ie
 
on
 
all
 
surfaces.
) (
◻
)Answe r






Q49. Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

 (
laminated
 
veneer
 
lumber
 
(LVL)
 
Thickness
 
63mm
Depth
 
240mm
) (
◻
)Answe r
 (
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Refer to the drawing below to respond to Q50. to Q65.
[image: ]
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Q50. What is the number of the drawing?

 (
2
) (
◻
)Answe r


Q51. What is the Job Number?

 (
00R-112
) (
◻
)Answe r


Q52. What is the scale of the drawing?

 (
1:100
) (
◻
)Answe r


Q53. What does the drawing show?

 (
East
 
elevation,
 
west
 
elevation,
 
south
 
elevation,
 
north
 
elevation
 
and
 
section
 
detail
 
of
 
the
 
building
) (
◻
)Answe r








Q54. Which view shows the front of the house?

 (
East
 
elevation
) (
◻
)Answe r


Q55. How many motor vehicles can be parked in the garage?

 (
2
) (
◻
)Answe r


Q56. What are the window and doors made from?

 (
Timber,
 
Aluminium,
) (
◻
)Answe r


Q57. What is the size of the eaves?

 (
450mm
) (
◻
)Answe r
 (
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Q58. What are the eaves lined with?

 (
Hardflex
) (
◻
)Answe r


Q59. What type of roof structure is the roof built from?

 (
Timber
 
framed
 
roof
 
trusses
) (
◻
)Answe r


Q60. Which Part of the NCC should be read for more detail about the requirements for the roof structure in Q59.?

 (
Part
 
3.11.6
) (
◻
)Answe r


Q61. Which Australian Standard should be read for more detail about the roof structure in Q59. ?

 (
AS
 
1720
) (
◻
)Answe r


Q62. What is the roof cladding materials made from?

 (
concrete
 
roof
 
tiles
) (
◻
)Answe r


Q63. Which Part of the NCC should be read for more detail about the roof cladding materials in Q62. ?

 (
Part
 
3.5.1
) (
◻
)Answe r


Q64. Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

 (
AS
 
2049
) (
◻
)Answe r


Q65. What is the roof pitch?

 (
22.5
 
deg.
) (
◻
)Answe r
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Q66. Identify one (1) regulatory body you may need to submit plans to for approval?

 (
City
 
council
) (
◻
)Answe r


Q67. Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66.

 (
All
 
Class
 
1a
 
buildings
 
need
 
building
 
approval.
You
 
can
 
arrange
 
for
 
building
 
approval of your new house through a
 
building certifier
. You must give the certifier scaled and detailed plans
 
prepared
 
by
 
a
 
draftsperson
 
or
 
architect
.
Your certifier can seek a relaxation of some building requirements (e.g.
 
minimum distances from side boundaries). This is a request to Council for
 
a
 
Building
 
Work
 
Referral
 
Agency
 
Response
 
for
 
consideration
 
of
 
the
 
design
 
and
 
siting
 
provisions
 
of
 
the
 
Queensland
 
Development
 
Code
 
(QDC).
DA
 
process
 
can
 
take
 
anywhere
 
between
 
2
 
weeks
 
and
 
4
 
months
 
in
 
accordance
 
with
 
the
 
statutory
 
timeframes.
) (
◻
)Answe r














Q68. What is a prime cost (PC) item? Give an example.

 (
A
 
PC
 
item
 
is:
An
 
amount
 
of
 
money
 
included
 
in
 
a
 
contract
 
sum
 
to
 
purchase
 
a
 
specified
 
item
 
such
 
as
 
tiles,
 
taps,
 
doors
 
or
 
bathroom
 
fittings
An
 
agreed
 
estimated
 
amount
 
is
 
included
 
at
 
contract
 
signing
 
but
 
the
 
specific
 
products
 
are
 
not
 
selected
 
until
 
a
 
later
 
stage
A
 
builder
 
must
 
estimate
 
the
 
cost
 
of
 
such
 
items
 
at
 
or
 
above
 
the
 
lowest
 
amount
 
these
 
items
 
could
 
reasonably
 
cost
For example if a client selects a more expensive door than allowed by the
 
PC item, say a $500 door compared with a $440 PC amount, a variation
 
will be required to cover the additional $60. If the PC item varies, so will
 
the
 
final
 
contract
 
sum.
) (
◻
)Answe r













Q69. What is a provisional sum (PS) item? Give an example.
 (
Theory
 
Exam
 
-
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Read
 
and
 
interpret
 
plans
 
and
 
specifications
)
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 (
A
 
provisional
 
sum
 
is:
An
 
amount
 
of money included in contract sum to cover work and/or
 
materials,
 
not
 
detailed
 
when
 
entering
 
the
 
contract
Typically
 
builders
 
will
 
include
 
a
 
PS
 
for
 
site
 
work
 
costs
The builder is legally required to take reasonable steps to ensure an
 
accurate site works cost estimate but unforeseen events mean that the
 
provisional
 
sum
 
is
 
exceeded
 
which
 
is
 
added
 
to
 
the
 
contract
 
sum
For
 
example
 
a
 
building
 
site
 
may
 
seem
 
sandy and clean with minimal
 
siteworks
 
required,
 
however,
 
there may be large limestone rocks/tree
 
trunks concealed below the surface which only emerge once siteworks
 
commence,
 
causing
 
cost
 
overrun.
) (
◻
)Answe r












Refer to the Bill of Quantities below to respond to Q70. to Q76.
 (
Theory
 
Exam
 
-
 
CPCCBC4012B
 
Read
 
and
 
interpret
 
plans
 
and
 
specifications
)

 (
CSTC
 
Pty
 
Ltd_RTO#0699_v1-3_02/10/2019
 
Page
 
23
 
of
 
27
)

[image: ]
 (
Theory
 
Exam
 
-
 
CPCCBC4012B
 
Read
 
and
 
interpret
 
plans
 
and
 
specifications
)

 (
Page
 
24
 
of
 
4CSTC
 
Pty
 
Ltd_RTO#0699_v1-3_02/10/2019
)

[image: ]

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf
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Q70. True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

 (
x
True
◻
False
)Answer	◻

Q71. Identify two (2) materials being used for the floors?

 (
carpet
 
and
 
vynil
) (
◻
)Answe r




Q72. True or False (Tick your response): A landscaper has been contracted for this job.

 (
x
True
◻
False
)Answer	◻

Q73. How much does the contracted plasterer cost?

 (
$12,900.00
) (
◻
)Answe r


Q74. How much do the kitchen appliances cost?

 (
$2,700.00
) (
◻
)Answe r


Q75. What percentage of the total cost does the fixing stage represent of the building contract?

 (
23%
) (
◻
)Answe r


Q76. What percentage of the total cost does the completion stage represent of the building contract?

 (
17%
) (
◻
)Answe r
 (
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Exam
 
-
 
CPCCBC4012B
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)
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Refer to the Purchase Order below to respond to Q77. to Q82.

[image: ]
Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf
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Q77. How many Pine F5 90 x 45 studs (2.4m long) are required?

 (
100
) (
◻
)Answe r


Q78. If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

 (
$10,275.00
) (
◻
)Answe r






Q79. How many sheet of ply are required in total (i.e. all sizes)?

 (
13
) (
◻
)Answe r






Q80. What material has the highest total cost?

 (
Pine
 
90
 
x
 
45
 
mgp10(long
 
lengths)
) (
◻
)Answe r






Q81. How many metres are required of the material in Q80. ?

 (
322.5m
) (
◻
)Answe r




Q82. What beam is identified as being a better option than F17?

 (
E14
 
beams
) (
◻
)Answe r
 (
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Refer to the labour chart below to respond to Q83. to Q86.
[image: ]
Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf
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Q83. Based on the hourly rates given, which is the least expensive trade to contract?

 (
Asphalter
 
(Road
 
construction)
) (
◻
)Answe r


Q84. If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

 (
$214.80
) (
◻
)Answe r






Q85. Based on the hourly rates given, which is the most expensive trade to contract?

 (
Bar
 
bender
 
and
 
fixer
) (
◻
)Answe r


Q86. If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

 (
$1,285.80
) (
◻
)Answe r






Q87. Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

 (
Queensland Building and Construction Commission Act 1991
 
Queensland
 
Building
 
and
 
Construction
 
Commission
 
Regulation
 
2018
) (
◻
)Answe r
 (
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 (
PRACTICAL
 
ASSESSMENT
 
INSTRUCTIONS
The
 
following
 
practical
 
assessment
 
will
 
require
 
the
 
Participant
 
to
 
complete
 
work
 
related
 
activities.
The
 
Assessor
 
will
 
conduct
 
observations
 
of
 
the
 
Participant’s
 
work
 
to
 
determine
 
whether
 
they
 
display
 
sufficient
 
practical
 
skills
 
and
 
knowledge.
Please
 
fill
 
in
 
the
 
details
 
below
 
–
 
providing
 
your
 
name,
 
signature
 
and
 
date
 
of
 
assessment.
The Participant’s signature acknowledges that the Assessor provided
 
clear
 
instructions
 
and
 
the
 
Participant
 
understood
 
what
 
was
 
required
 
to
 
complete
 
this
 
assessment.
The
 
Assessor
 
may
 
substitute
 
a
 
Practical
 
Task
 
with
 
an
 
alternate
 
task
 
of
 
equal
 
value.
Alternate
 
tasks
 
must
 
be
 
fully
 
documented
 
by
 
the
 
assessor
 
in
 
the
 
Assessor
 
Comments
 
area.
)


Participant name	UAA Darshika	 Participant signature		Dars³ika
Date	02/02/2021	


Assessor name	Myles Walder	 Assessor signature

Date	Click here to enter a date.	



	Task
	Task outcome (Tick)

	
	Satisfactory
	Not Yet Satisfactory

	Task 1 (Occasion 1)
	◻
	◻

	Task 1 (Occasion 2)
	◻
	◻
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ASSESSOR COMMENTS
 (
Practical
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-
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 (
CPCCBC4012B
) (
R
EAD
 
AND
)[image: ] (
PLANS
 
AND
) (
SPECIFICATIONS
)INTERPRET

	Practical Task 1 (2X)

	Description of task:
On two (2) occasions, a suitable observer is to verify the participant’s ability to read and interpret plans and specifications in order to inform estimation, planning and supervisory activities.
The participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence to be submitted may include:
· Any drawing with a cloud or mark-up you have inserted.
· Copy of the correspondence regarding mark up and any site management/authorising engineer response.
The observer is to provide detailed comments on the tasks completed by the participant. The assessor is to verify the observer’s comments in the Assessor Comments section, and provide the Practical Assessment outcome on the front
cover of this document.

	Resources required:
Drawings (including site plan), Specifications, Tender documentation, Telephone, Facsimile machine, Computer.

	Assessment of task

	Name of participant:
	UAA Darshika

	Name of observer:
	

	Role of observer
(Confirm suitability to sign)
	

	Email address of observer
	

	
Signature of observer:
	
[image: ]

	Date:
	Click here to enter a date.

	
When completing the task, did the participant:
	Tick if satisfactorily completed.
Provide comments if left unticked.

	
	1st
Occasion
	2nd
Occasion

	1 Interpret drawings

	1.1A.	Identify purpose and advantage of different types of drawings.
	◻
	◻

	1.1B.	Identify different aspects of drawings.
	◻
	◻

	1.1 C.	Identify, understand and apply:
· Commonly used symbols and abbreviations
· Common building and construction terms on drawings
	◻
	◻

	1.1D.	Identify building site from location drawings.
	◻
	◻

	1.1 E.	Identify on the site plan:
· True north
· Building orientation
· Key features in relation to building and other structures
· Levels
· Contours
· Service entry points
· Site features to be removed or retained
	
◻
	
◻
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	1.1F.	Identify key features of plans, elevations and sections.
	◻
	◻

	1.1G.   Identify client requested variations to standard plans on drawings.
	◻
	◻

	2 Interpret specifications

	1.2A.	Identify and correctly apply Provisional Sum (PS) and Prime Cost (PC)
values.
	◻
	◻

	1.2B.	Identify and confirm customer variations to standard specifications and
communicate changes to organisational personnel.
	◻
	◻

	1.2C.	Apply and communicate correct interpretations of essential elements to
estimation, planning and supervisory tasks (including labour hours/costs and material quantities/costs).
	◻
	◻

	1.2D.	Identify Building Codes or standards affecting the work to be undertaken (including references to Australian Standards and the National Construction Code).
	◻
	◻

	1.2E.	Identify key features of products included in the specification, including the design, purpose, aesthetics and cost relationships.
	◻
	◻

	3 Communicate with others

	1.3A.	Consult with industry professionals, clients, organisational personnel
and appropriate local authorities.
	◻
	◻

	1.3 B.	Effectively communicate using the following methods:
· Verbally using language/concepts appropriate to cultural differences
· Non-verbal communication
· Using technology (including telephone, facsimile, email)
	◻
	◻

	The Participant’s performance was: ◻ Satisfactory	◻ Not Satisfactory
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COMMENTS
)
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