RESIDENTIAL PROJECT – BILL OF QUANTITIES

	Material
	Description
	Measurement of material 
	Unit price
	Total price

	Demolition – Jack Hammer
	Demolish the 17 sqm of existing storage, supporting walls, wall tiles, flooring, sink etc. at all levels as required carefully and disposing off and clearing away the debris 
	sqm
	$310
	$5270

	Kitchen 
Elevation
Bench
Drawers
Spice rack
Brushed stainless steel laminate
Ducting
Overheads
Shelves
Caesarstone bench top
Island
Sink cupboard
Paint
Cabinetry - Blum Tandembox antaro h. Fronted pull-out C - DQC5JY, D - DQC69A, DQCB6M
Urbane Castella 192mmCTC handle

	Kitchen elevation 2730x2550Hx600mm diameter or expressed as 2.7mx2.55mx0.6m
Bench height 1000mm with 3 sets of 3 blum tip drawers with 1 of orga line spice rack insert
Brushed stainless steel laminate kick face
Ducting for downdraft cooktop to run behind draws
Overheads 650mm Height with 1 of adjustable shelf with doors hanging below as finger pull and LED strip lighting to underside
Internal 16mm HMR with 1mm ABS PVC match edge
Fronts in 18mm white sating with 2 pac satin finish
40mm Caesarstone bianco drift bench top with cutout for drop in cooktop
Kitchen island 3000x1000Wx1000 D – LH side with pull out drawer with 2x35L bin inserts
Sink cupboard with 1 door housing undermount single bowl sink with 3 sets of 4 blum tip on drawers with 1 of cutlery insert and 2 of utensil insert. Internals 16mmwh HMR with 1mm ABS PVC matching edge. All fronts in 18mm wh sat with 2pac satin finish

	mm, m
L
W, H, D, thickness, pieces
	


$4500
$2500
$500
$2600

$9850
$3345
$1000

$12400
	$36695

	Butlers Pantry
Door sink cupbard
Bins
Dishwasher
Drawers
Shelves
Overheads
Paint
	4480x2550 Hx620mm D pantry or expressed as 4.48m x 2.550m x 0.620m with door sink cupboard and 2x20L bins
Dishwasher opening 600mm
3 sets of 3 blum tip on drawers with 885mm pantyr to RH side
2 door pantry unit with 5 blum soft close internal drawers and 4 adj shelves
Overheads 3595x650 Hx400mm D with 1 adj shelf with doors hanging below as finger pull
	Mm, m
L
W, H, D, thickness, pieces

	$4500

$2320
$2500

$2430

$4505
	$‎16255

	Laundry
Laundry tub unit
Shelves
Bench
Caesartone top 6131 Bianco Drift, 4600 Organic white
Shute cupboard
Overheads
Drawers
Tall cupboard
Brushed SS laminate
Single door cupboard
Paint
	L shaped laundry 2450x2520x2550mm or expressed as 2.45m x 2.52m x 2.55m with 4 door laundry tub unit with 1 adj shelf with bench at 1000mm H
40mm Caesarstone organic white top running wall to wall below laundry shute cupboard and 20mm thick splashback 150mm height
4 door overhead cupboard with 2 adj shelves and dorrs hanging down as finger pull above dryer and washing machine openings with flat pull out shelves and 1 of blum soft close drawer below
2 door Tall broom storage cupboard to right side with 1 of blum soft close drawer below 1 0f internal adj shelf
Brushed stainless steel laminate kick face
Single door cupboard 600x600mm on opposite wall 1000mm height bench top.
All internals 16mm white HMR with 1mm ABS PVCedge.  All fronts in 18mm white sating with 2 pac satin finish
Dryer and washing machine panels, bottoms in 32mm MDF with 2pac finish
	mm, L, m
W, H, D, thickness, pieces
	$1000


$2950



$3200



$1900


$990


$2960
	$‎13000

	Plumbing
Franke Ancona single bowl undermount sink
Double bowl undermount sink
Mizu drift sink mixer
Mizu smothe sq sink mixer
	Island & laundry - franke ancona single bowl undermount sink – anx 110-48
Pantry - franke ancona double bowl undermount sink - anx 120
Island & pantry - mizu drift mk2 gooseneck sink mixer pull-out
Laundry - mizu soothe square gooseneck sink mixer

	 4 pcs
	$900


$1650

$1400

$2300
	$6250

	Electrical
Light
LED tape
	Beacon Herman 1 light pendant
14 watt led tape and recess led profile under overhead cupboards
Single phase underground power connection from existing supply point. 
Led light strip under island bench
Cooktop isolation switch

	2 pcs
	$1900

$1150
	$3050

	Tiling
Timber look tile flooring
Ceramic tile splashback – kitchen and laundry
Kitchen timber look tile to match floors
Brushed stainless steel laminate

	New timber look tile flooring 
Kitchen – timber look tiles to match floors 1200x x230mm
Laundry and kitchen - ceramic tile splashback - Snow Brillo Tile Sc19 A7615, Amber Tiles To Match Cabinets. 130mmx130mm
Brushed stainless steel laminate kick face
130 sqm 
	Sqm, mm
	$69
	$8970

	Butlers Pantry - Fixed Glass Window
	New fixed glass window to suit existing opening width frame
1800x600mm
Colour to match exiting and tinted to client requirement (customized)

	1 pcs, mm
	$1790
	$1790

	French Doors - Triple Slider
	New Triple Slider With Screens To Match Existing Profile & Colour
2710x2100mm

	1 pc, mm
	$4800
	$4800

	Dining Room Slider - Reverse Opening
	Slider with reversed opening with screen to match existing profile and colour
1810mmx2100mm
	1 pc, mm
	$2850
	$2850

	Removal of Debris
Cleaning material
Skip bin

	Cleaning materials

Skip bins
	1 pc

2 pcs
	$500

$1400
	$1900

	TOTAL  ESTIMATED COST OF MATERIAL /SUPPLY
	$100830




	Relevant construction works/services
	Description/scope
	Hrs
	Unit price
	Total price

	Demolition labour
	Demolish existing kitchen and make good
Dismantling the existing storage, slab platform including supporting walls, wall tiles, flooring, sink etc. at all levels as required carefully and disposing off and clearing away the debris
Slabs to be chased to allow for new plumbing


	16
	$425
	$6800

	Kitchen Labour
	Installation of supply mentioned above
	138.4
	$60
	$8305

	Butlers Pantry Labour
	Installation of supply mentioned above
	35
	$50
	$1745

	Laundry Labour
	Installation of supply mentioned above
	40
	$50
	$2000

	Plumbing
	Installation of supply mentioned above
Slabs to be chased to allow for new plumbing
Plumbing cap off and reconnections
Plumbing dis-connections to existing serviceable connection points and connections
Water dis-connection and connections from pre-tapped water main

	33.3
	$75
	$2500

	Electrical
	Installation of supply mentioned above
Electricity cap off and reconnections
Electricity dis-connections to existing serviceable connection points and connections
Duct work for bench mount exhaust to run through back of drawers and wall to external wall and motor
Cooktop downdraft ventilation system
	29
	$110
	$3200

	Building / Carpentry Labour
	Labour for scopes of work described excluding the installation of above fixtures
New stud plasterboard wall to be build
New fixed glass window to existing opening
Enclose wall above and below to match existing 
Window tint to be discussed with client
New doors to match switch opening with screens
New doors to match triple slider with screens
New Laundry door location cavity slider to match existing
Tambour door in kitchen
New Laundry window to suit existing opening width over dishwasher

	230
	$65
	$15000

	Tiling Labour
	Installation of supply mentioned above
	122
	$65
	$7930

	Butlers Pantry - Fixed Glass Window Labour
	Installation of supply mentioned above
	2
	$80
	$160

	French Doors - Triple Slider Labour
	Installation of supply mentioned above
	3
	$80
	$240

	Dining Room Slider - Reverse Opening Labour
	Installation of supply mentioned above
	5
	$80
	$400

	Removal of Debris
	Labour and clean-up
	8
	$75
	$600

	TOTAL ESTIMATED COST OF CONSTRUCTION WORKS/SERVICES
	$48880



TOTAL SUM OF THE PROJECT 

	TOTAL  ESTIMATED COST OF MATERIAL /SUPPLY
	$100830

	TOTAL ESTIMATED COST OF CONSTRUCTION WORKS/SERVICES
	$48880

	Subtotal
	$149710

	GST 10%
	$14971

	TOTAL COST OF THE PROJECT 
	$164681



