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FORM03- SITE INDUCTION CHECKLIST

                                              	TASK OBSERVATION FORM
	
	SITE NAME:
30 Cliveden Av

	WORK ACTIVITY: Framing

	OBSERVERS NAME:
Paul Newton

	SWMS NAME/ NO:
30 Cliveden 002Frame

	RESPONSIBLE SUBCONTRACTOR:
Mitch Henderson
	OBSERVATION DATE:
1/12/2020


	

	SWMS Controls required for work being observed
	Implemented and effective?
	Required Action?
	Close out date

	
1
	
Adequate Scaffolding for second level frame -Fall hazard not to exceed 2.4m

	Yes
	Additional temporary handrails around stairwells
	25/10/2020

	2
	Edge protection to be installed prior to truss delivery and installation


	Yes
	Temporary platform to be installed to cover stairwell during roof truss and framing installation.
	25/10/2020

	3
	
“Lifting Exclusion zone” to be implemented for truss lift

	Yes
	Full Marked Lifting area to be designated prior to crane  arriving.
	25/10/2020

	Safe Behavior Observed Description
	Communicated to subcontractor
	Comments
	Close out date

	
Good safety gear worn at all necessary times 

	Mitch Henderson
	Safety glasses ,gloves and ear protection worn when required
	22/11/2020

	Good practices observed when Truss delivery arrived , good communication with crane truck driver and foreman.


	Mitch Henderson
	Good idea An exclusion zone was implemented during Truss lifting on to top frame.
	22/11/2020

	
Good understanding and practice of Working at heights requirements and scaffolding in general

	Mitch Henderson
	Care taken when working on second level framework.
	22/11/2020

	


	
	
	

	Unsafe Behavior  Observed Description



	
Hard hats were not worn during truss lifting /crane operation 

	Mitch Henderson
	Hard hats will be implemented in the future and be mandatory when lifting is in progress.
	1/12/2020

	
Certain scaffolding ties were removed in order to install roof trusses.

	Mitch Henderson
	In Future the scaffolding company must be contacted to do any modifications to the scaffolding. Must not be altered by anyone on site as it could compromise the integrity of the scaffolding.
	1/12/2020

	


	
	
	

	


	
	
	



	


 confirm that I attended the aforementioned site WHS Consultation meeting.



	OBSERVER NAME:
	SIGNATURE:
	ROLE:

	Paul Newton
	Paul Newton
	Builder, Site foreman

	 
	
	

	SUBCONTRACTOR/ WORKER NAME:
	SIGNATURE:
	ROLE:

	Mitch Henderson
	Mitch Henderson
	Subcontractor Carpenter
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