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Open
Ready to Inspect ) SUMMARY
In Dispute
Closed 1632 CONSULTANT Closed
Work Done Sprinkler to be located clear of lighting support and duct so
spray is not obstructed.
A |ssue type Premier Fire Pty Ltd
Consultant Nov 23, 2023
Defect
Incomplete Works 1631 DEFECT Closed
Ensure all under-duct sprinklers with more than 500mm of
Extra details. horizontal pipe are supported (check entire north wing)
n Premier Fire Pty Ltd
ssignee Nov 23, 2023
Ethan Wilson (me)
BESIX Watpac
1605 DEFECT
Not Assigned Closed
Clean / remove concrete polishing residue from finished tiles in
Select one or more v amenities
Concretis PGV Pty Ltd
4 Source Nov 22, 2023
Punchiists
1604 DEFECT Closed
Selectone or more M Clean / remove concrete polishing residue from finished tiles in
Inspections cleaners room
Concretis PCV Pty Ltd
Select one or more v Y
Nov 22, 2023
AListedin 1603 DEFECT Closed
Due A Floor behind column not finished consistent
Any time ]

1-100 of 476 issues.

Investigating - AUT - Speed of ~ 2hours ago
Service impacting Application

View Details
3424 peFecT

Masking tape on Blind duct
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